

**Technical Data Sheet**

|  |
| --- |
| Product: 20w Neptune LED Downlight |

  

**Description**

* 20W
* High Performance LED CCT Downlight
* Comes with Chrome Trim
* IP54
* 40,000 hours average lifetime
* CCT – 3000/4000/6000
* Dimmable
* Low glare and even light distribution ensure suitability

**LED Information**

|  |  |
| --- | --- |
| **Code** | **DL20CCTDIM**  |
| **Description**  | **20W IP54 CCT DIMMABLE DOWNLIGHT**  |
| **Watts**  | **20** |
| **Kelvin** | **3000/4000/6000** |
| **Cut Out**  | **200 - 240** |
| **Dimensions**  | **250 X 110** |
| **Lumens**  | **1980** |