

**Technical Data Sheet**

|  |
| --- |
| Product: G4 Flat LED Lamp |



|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Code  | Description | Watts  | Kelvin | Lumens | IP Rating  | Dimensions | Warranty |
| G46LED | 2W G4 FLAT LED  | 2 | 3000 | 150 | IP20 | 33 X 20 X 8 | 2 YEAR  |
| G425LED | 2.5W LED CAPSULE  | 2.5 | 3000 | 200 | IP20 | 39 X 13 | 2 YEAR  |
| G4220VLED | 220V G4 CAPSULE 2W 3000K | 2 | 3000 | 200 | IP20 | 45 X 10 | 2 YEAR |

